## Slide 1
Model
TabWidget with the following tabs:
- Inputs
- Output_fastpiezo
- Output_slowpiezo
- …
Sequences
Lockbox Control
See next slides for a description of the elements

## Slide 2
Model:
Laser wavelength
Cavity finesse
…
FPM

## Slide 3
Inputs:
Reflection (FPM)
Add input
Calibrate all
DC-gain
V/*Unit*
channel
Calibrate
PDH (FPM)
DC-gain
V/*Unit*
channel
Calibrate
freq
amplitude
Phase

## Slide 4
Outputs
Manual design
Assisted design
Desired unity-gain frequency
Hz
Hz
Hz
P
I
Analog filter
Hz
Hz
Additional filter
Hz
Hz
Hz
Hz
Open-loop transfer function
Specify analog transfer function:
PI-corner
*unit*/*unit*
Hz
Hz
- None
- Analog_filter(see assisted design)
- Curve #
Amplitude (dB)
Phase (deg)
Extra-module:
State:
Fast piezo
Add output
Unit ???
DC-gain
*unit*/V
channel
LF-gain limit
Sweep enable
Waveform
Amplitude
Offset
Frequency
Why is that ever needed, since the model defines the « variable » to stabilize and its unit ?

## Slide 5
Sequences:
Drift
Input
*Detuning*
Start offset
Outputs
duration
*Unit*
V
s
Add
Stage
Normal
Model function call:
Yaml kwds ???
Lock
Input
*Detuning*
Start offset
Outputs
duration
*Unit*
V
s
Normal
Model function call:
Yaml kwds ???
Go to
Go to
Lockbox Control:
Lock
Sweep slow piezo
Sweep fast piezo
Auto relock
Load
Save
What should happen if the outputs are not defined ?